Residential Fire Risk Assessment Template

A free recording template for fire risk assessments of blocks of flats, HMOs, sheltered housing and other residential premises in England and Wales.

Structured to BS 9792:2025 · Regulatory Reform (Fire Safety) Order 2005

This is the editable Word version of the template. Type into the boxes and tables, and mark a choice by replacing ☐ with X. A print-ready PDF version is available from the same page.

1 Premises, responsible person and scope

| Building name and address |  |
| --- | --- |
| Description of the building Approximate age, construction, number of storeys, number of dwellings, communal facilities |  |
| Premises type | ☐ Purpose-built block of flats ☐ Converted flats ☐ HMO ☐ Sheltered or supported housing ☐ Other: |
| Evacuation strategy | ☐ Stay put ☐ Simultaneous evacuation ☐ Phased ☐ Defend in place |

Type of assessment

| Type of assessment As described in BS 9792:2025 and sector guidance | ☐ Type 1 · Common parts only, non-intrusive ☐ Type 2 · Common parts, intrusive ☐ Type 3 · Common parts and a sample of dwellings, non-intrusive ☐ Type 4 · Common parts and dwellings, intrusive |
| --- | --- |
| Areas inspected / not inspected |  |

People and dates

| Responsible person |  |
| --- | --- |
| UK contact address of the responsible person |  |
| Managing agent (if any) |  |
| Assessor name |  |
| Assessor competency Qualifications, registration, relevant experience. If self-assessing, say so |  |
| Date of this assessment |  |
| Date of previous fire risk assessment |  |
| Recommended review date |  |
| Report reference |  |

2 People at risk

| How many people sleep on the premises? |  |
| --- | --- |
| Maximum number of occupants at any one time |  |
| Non-residents regularly on site Staff, carers, cleaners, contractors, regular visitors: who and roughly how many |  |
| Children under 18 in the building? Note how many, and whether any are under 5 |  |
| Staffing | ☐ Staffed 24 hours ☐ Daytime only ☐ Visiting staff ☐ Unstaffed |

Residents who may need help to evacuate

| Flat / room | Why they may need help (mobility, hearing, sight, cognition, other) | Evacuation capability (unaided / with assistance / fire service assistance) | Person-centred plan or PEEP in place? | Information available to the fire service? (e.g. secure information box) |
| --- | --- | --- | --- | --- |

3 Fire hazards and fire protection checklist

Identify fire hazards

| A1 Sources of ignition |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are the fixed electrical installations periodically inspected and tested (EICR, normally at least every 5 years)? | ☐ | ☐ | ☐ |  |
| Is smoking prohibited in the common parts, and is the prohibition observed? | ☐ | ☐ | ☐ |  |
| Are e-bikes, e-scooters and other lithium battery equipment kept out of escape routes and charged safely? | ☐ | ☐ | ☐ |  |

| A2 Sources of fuel |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is refuse stored in designated areas, clear of the building? | ☐ | ☐ | ☐ |  |
| Are the common parts free of combustible accumulations (furniture, deliveries, stored belongings, pushchairs)? | ☐ | ☐ | ☐ |  |

| A3 Lightning protection (where installed) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is a lightning protection system installed? | ☐ | ☐ | ☐ |  |
| Has it been inspected and tested in the last 12 months by a competent person? | ☐ | ☐ | ☐ |  |

Fire protection measures

| D1 Fire detection and warning |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is the fire detection and warning arrangement suitable for this building and its evacuation strategy? | ☐ | ☐ | ☐ |  |
| Are detector types and locations appropriate (dwellings, common parts, plant and service rooms)? | ☐ | ☐ | ☐ |  |

| D2 Firefighting equipment |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are manual extinguishers provided where required (staffed areas, plant rooms)? | ☐ | ☐ | ☐ |  |
| Where fitted, are dry or wet rising mains maintained and tested? | ☐ | ☐ | ☐ |  |

| D3 Emergency lighting |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is emergency lighting provided on internal escape routes and stairways? | ☐ | ☐ | ☐ |  |
| Is it in good working order? | ☐ | ☐ | ☐ |  |

Means of escape

| E1 Escape routes |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are escape routes clear of obstructions (personal items, mobility scooters, bicycles, prams)? | ☐ | ☐ | ☐ |  |
| Are final exits openable immediately, without a key, whenever the building is occupied? | ☐ | ☐ | ☐ |  |

| E2 Fire doors |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are flat entrance doors fire-resisting and self-closing (FD30S or FD60S as required)? | ☐ | ☐ | ☐ |  |
| Are intumescent strips and smoke seals present and in sound condition? | ☐ | ☐ | ☐ |  |
| Are there arrangements for the periodic inspection of flat entrance doors and communal fire doors? | ☐ | ☐ | ☐ |  |

| E3 Signs and notices |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are exit signs provided at final exits and wherever the escape route changes direction? | ☐ | ☐ | ☐ |  |
| Are fire action notices displayed conspicuously in the common parts? | ☐ | ☐ | ☐ |  |

| E4 Emergency evacuation plan |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is there a written fire emergency plan for the building? | ☐ | ☐ | ☐ |  |
| Does the plan cover residents who cannot evacuate without assistance? | ☐ | ☐ | ☐ |  |

Fire spread

| F1 Internal fire spread: linings |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Do wall and ceiling finishes in the common parts resist the spread of fire? | ☐ | ☐ | ☐ |  |
| Are linings in good condition, with no damage and no combustible coverings? | ☐ | ☐ | ☐ |  |

| F2 Internal fire spread: structure |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are loadbearing elements in reasonable condition? | ☐ | ☐ | ☐ |  |
| Are floors, beams and columns free from visible damage? | ☐ | ☐ | ☐ |  |

| F3 External fire spread |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Has the external wall construction been identified and recorded (a duty under the Fire Safety Act 2021)? | ☐ | ☐ | ☐ |  |
| Where the walls give cause for concern, has a fire risk appraisal of external walls (FRAEW) been carried out? | ☐ | ☐ | ☐ |  |

| F4 Compartmentation |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is compartmentation between dwellings and the common parts of a reasonable standard, so far as can be seen? | ☐ | ☐ | ☐ |  |
| Is there adequate fire stopping around service penetrations (risers, meter cupboards, ceiling voids)? | ☐ | ☐ | ☐ |  |

Management of fire safety

| G1 Fire safety management |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is there a suitable record of the fire safety arrangements for the building? | ☐ | ☐ | ☐ |  |
| Has fire safety information been given to residents within the last 12 months? | ☐ | ☐ | ☐ |  |

| G2 Maintenance and testing |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Is fire detection and alarm equipment tested weekly and serviced periodically? | ☐ | ☐ | ☐ |  |
| Are monthly function tests and annual full-duration tests in place for emergency lighting? | ☐ | ☐ | ☐ |  |

| G3 Training |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are staff and managing agents trained for their role in the fire safety arrangements? | ☐ | ☐ | ☐ |  |
| Do staff know how to implement the evacuation strategy? | ☐ | ☐ | ☐ |  |

| G4 Records |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Yes | No | N/A | Observations and location |
| Are records kept of fire alarm and emergency lighting tests? | ☐ | ☐ | ☐ |  |
| Are maintenance records kept for all fire protection systems? | ☐ | ☐ | ☐ |  |

Any other significant fire hazards

| Hazards not covered above For example dangerous substances, contractors and hot works, portable heaters, arson risk from unsecured access |  |
| --- | --- |

4 Risk rating

| Likelihood ↓ / Consequence → | Slight harm | Moderate harm | Extreme harm |
| --- | --- | --- | --- |
| Low | Trivial | Tolerable | Moderate |
| Medium | Tolerable | Moderate | Substantial |
| High | Moderate | Substantial | Intolerable |

| Risk band | What it means for action |
| --- | --- |
| Trivial | No action required and no records other than this assessment need be kept. |
| Tolerable | No major additional controls required, but keep the position under review and look for low-cost improvements. |
| Moderate | Reduce the risk. Implement the action plan within a defined period. |
| Substantial | Considerable resources may be needed. Give the action plan urgent priority; interim measures may be required in the meantime. |
| Intolerable | The premises, or the affected part, should not remain in use until the risk has been reduced. |

| Likelihood of fire | ☐ Low ☐ Medium ☐ High |
| --- | --- |
| Consequence of fire | ☐ Slight harm ☐ Moderate harm ☐ Extreme harm |
| Overall risk rating | ☐ Trivial ☐ Tolerable ☐ Moderate ☐ Substantial ☐ Intolerable |

5 Summary of significant findings

6 Action plan

P1 Immediate · 24 to 48 hours      P2 High · 1 to 4 weeks      P3 Medium · 1 to 3 months      P4 Low · 3 to 6 months

| Ref | Section | Deficiency observed | Action required | Priority | Responsible person | Target date | Done |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 001 |  |  |  |  |  |  |  |
| 002 |  |  |  |  |  |  |  |
| 003 |  |  |  |  |  |  |  |
| 004 |  |  |  |  |  |  |  |
| 005 |  |  |  |  |  |  |  |
| 006 |  |  |  |  |  |  |  |
| 007 |  |  |  |  |  |  |  |
| 008 |  |  |  |  |  |  |  |
| 009 |  |  |  |  |  |  |  |
| 010 |  |  |  |  |  |  |  |
| 011 |  |  |  |  |  |  |  |
| 012 |  |  |  |  |  |  |  |

Interim measures in place until the actions above are complete:

7 Review record

| Date of review | Reviewed by | Reason (routine / change / fire or near miss) | Summary of changes made | Next review due |
| --- | --- | --- | --- | --- |

8 Trail of Records: omissions and limitations

| Section / item | What was not checked or was excluded | Reason | Date |
| --- | --- | --- | --- |

9 Declaration

| Assessor signature |  |
| --- | --- |
| Assessor name and date |  |
| Seen and accepted by the responsible person Signature and date |  |

© FireRecord 2026. Version 1.0, August 2026. Free to use and share for fire safety purposes; please credit firerecord.co.uk when republishing. Informed by UK government fire safety guidance (contains public sector information licensed under the Open Government Licence v3.0). This template is a recording tool, not advice for a specific building; responsibility for a suitable and sufficient fire risk assessment rests with the responsible person under the Regulatory Reform (Fire Safety) Order 2005.